Ref: Tender advertisement dated on 21.05.2016

ISA TOWN

- SCOPE OF WORKS – A/C

Familiarizing with regard to the type, location of equipment, inspection, Planned Preventive Maintenance Works, Service and repairs of installation of all air- conditioners, water coolers and water pumps at the above campus for smooth functioning of the whole system as stipulated in the approved programme  for the following equipments / installations:

  - Air Conditioning Installation

Quantity

| i) | Administrative Block (New) |  |
| --- | --- | --- |
|  | Central Split A/C Unit | 4 nos |
|  | Mini Split A/C Unit | 11 nos |
|  | Window A/C Unit |  |
|  | All the Electrical Installations | LS |
| ii) | Administrative Block(Old) |  |
|  | Central AC | 3nos. |
|  | Split Unit | 18 nos. |
|  | W/AC | 1 no. |
|  | All the Electrical Installations | LS |
| iii) | Tagore Block |  |
|  | Package Unit | 2 nos. |
|  | Central AC | 4 nos. |
|  | Spilt units | 55 nos. |
|  | All the Electrical Installations | LS |
| iii) | Nehru Block |  |
|  | Split Units | 97 nos. |
|  | Central AC |  |
|  | All the Electrical Installations | LS |
| iv) | Netaji Block |  |
|  | Split Units | 1 no. |
|  | Package Unit | 7 nos. |
|  | All the Electrical Installations | LS |
| v) | Gandhi Block |  |
|  | Split Units | 60 nos. |
|  | Central Units |  |
|  | Ventilation system in toilets – Ground & First Floors | Fans |
|  | All the Electrical Installations | LS |
| vi) | Jashanmal Auditorium |  |
|  | Package Unit | 2 nos. |
|  | Fresh air conditioning & air handling units | 2 nos. |
|  | Ventilation system in toilets | 2 nos. |
|  | Split Unit | 10 |
|  | All the Electrical Installations | LS |
| vii) | AC UNITS CANTEEN -Window AC Unit | 4 nos. |
|  | All the Electrical Installations | LS |
| Viii) | SH. ISA BLOCK |  |
|  | Central AC | 68 nos. |
|  | Split AC | 3 nos. |
|  | Air Freshner AC (Chemistry Lab) | 2 nos. |
|  | Electrical panel rooms – Split A/C | 1 nos. |
| ix) | CEP Block & Library |  |
| A. | Location Window AC | Split AC |
|  | Rajendra Prasad Block 38nos. | 06 nos. |
|  | Security Cabin 3 nos. | - |
|  | Security Quarters 5 nos. | - |
|  | Book store 4 nos. | 1 |
|  | First Aid Room (Old) | 2 nos. |
|  | Maintenance Store | 1 |
|  | Old Band Room 01 nos. | 1 |
|  | Counselor Room | 1 |
|  | Netaji Block Electrical Panel | 1 |
|  | 3 New Porto cabins 07 nos. |  |
| X | Diamond Jubilee Building: Ducted Split Unit | 33 Nos |
|  | Electrical Panel Room | 1 |

b. Water coolers 					Total 26 nos.

The whole system includes Ducts, Thermostats, Grills, Control Panels etc.

The Contractor shall verify at site and update the above list, as necessary and also prepare and submit on award of the Contract as built drawings of above-mentioned existing installations, in hard copy as well as floppy diskettes.

V R Palaniswamy

Principal